## Instructions
Instructions
Each of the following tabs has questions regarding the laboratory's ongoing performance for the following tests:
Ceriodaphnia dubia chronic survival and reproduction (EPA Method 1002.0)
Pimephales promelas chronic survival and growth (EPA Method 1000.0)
Selenastrum capricornutum chronic growth (EPA Method 1003.0)
Hyalella azteca 96-hr test for survival (SWAMP MQO Table 8)*
Chironomus dilutus 10-day ambient water column test for survival & growth (SWAMP MQO Table 7)*
*We recognize that not all labs have experience with these tests. Data for water-only testing and/or an equivalent sediment testing (e.g., EPA method OPPTS 850.1790 for Hyalella, ASTM E1706-19 for Chironomus) may be submitted. There are separate sheets for acute water column, chronic water column, and sediment data for these species.
The tabs for each species contain questions (scroll down to see all of them; these cells are protected, i.e., not editable). In the appropriate tab for each species, please provide
Ongoing reference toxicant test data AND control chart data for a minimum of the most recent 20 tests.
Test completion rate, AND the reason(s) for invalidated or re-tested tests.
Annual DMR-QA or equivalent proficiency testing data for years # 36, 37, and 38, and any associated Corrective Action Reports for species required for DMR-QA testing.
Prepared by Liz Miller, Aquatic Science Center, 2019-10-14 on behalf of the Delta RMP |  | UPDATED 2019-12-02

## Ceriodaphnia
1. Please provide your ongoing reference toxicant test data (EC25) for a minimum of the most recent 20 chronic Ceriodaphnia dubia survival and reproduction tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
2. Please provide your ongoing control chart data for negative controls for a minimum of the most recent 20 chronic Ceriodaphnia dubia survival and reproduction tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival or neonate #) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
reproduction
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Ceriodaphnia dubia chronic survival and reproduction (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
5. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for chronic Ceriodaphnia dubia testing. If corrective action was required, please describe.
Year | Pass/Fail | Corrective Action Required
38
37
36

## Pimephales
1. Please provide your ongoing reference toxicant test data (EC25) for a minimum of the most recent 20 chronic fathead minnow (Pimephales promelas) survivial and growth tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
2. Please provide your ongoing control chart data for negative controls for a minimum of the most recent 20 chronic fathead minnow (Pimephales promelas) survivial and growth tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival or growth) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for fathead minnow survivial and growth (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
5. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for chronic fathead minnow testing. If corrective action was required, please describe.
Year | Pass/Fail | Corrective Action Required
38
37
36

## Selenastrum
1. Does the laboratory use EDTA in performing the chronic Selenastrum capricornutum algae growth test? If sometimes, please indicate in the "Comments" columns below.
1. Please provide your ongoing reference toxicant test data (EC25) for a minimum of the most recent 20 chronic Selenastrum capricornutum algae growth tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
2. Please provide your ongoing control chart data for negative controls for a minimum of the most recent 20 chronic Selenastrum capricornutum algae growth tests:
Endpoint | Start Date | Count (# of replicates) | Mean (growth) | StDev | CV | Min | Max | Comments
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Selenastrum capricornutum algae growth (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for chronic algae growth testing.
Note: Selenastrum is no longer included in the DMR-QA studies, nor has it been for some time. We apologize for this error. This information is not required.

## Hyalella - acute water
If the laboratory has experience with Hyalella azteca 96 hour survival water column testing, indicate so here. Please provide ONLY acute water-column data in this sheet. There are separate sheets for Hyalella chronic water and sediment data.
1. Please provide your ongoing reference toxicant test data (EC25) for the most recent 20 Hyalella azteca 96 hour survival water column tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
2. Please provide your ongoing control chart data for negative controls for the most recent 20 Hyalella azteca 96 hour survival water column tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Hyalella azteca 96 hour water column survival (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for Hyalella testing.
Note: Hyalella is not included in the DMR-QA studies. We apologize for this error. This information is not required.

## Hyalella - chronic water
If the laboratory has experience with Hyalella azteca 10 day survival and growth water column testing, indicate so here. Please provide ONLY chronic water-column data in this sheet. There are separate sheets for Hyalella acute water column and sediment data.
1. Please provide your ongoing reference toxicant test data (EC25) for the most recent 20 Hyalella azteca 10 day water column tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
2. Please provide your ongoing control chart data for negative controls for the most recent 20 Hyalella azteca 10 day water column tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival or growth) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Hyalella azteca 10 day water column survival and growth (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for Hyalella testing.
Note: Hyalella is not included in the DMR-QA studies. We apologize for this error. This information is not required.

## Hyalella - sediment
1. This sheet is for Hyalella azteca sediment testing data ONLY. Please provide the name of the test for which this data applies.
1. Please provide your ongoing reference toxicant test data (EC25) for the most recent 20 Hyalella azteca sediment tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
2. Please provide your ongoing control chart data for negative controls for the most recent 20 Hyalella azteca sediment tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival or growth) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Hyalella azteca sediment survival and growth (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for Hyalella testing.
Note: Hyalella is not included in the DMR-QA studies. We apologize for this error. This information is not required.

## Chironomus - acute water
If the laboratory has experience with Chironomus dilutus acute water column testing, indicate so here. Please provide ONLY acute water-column data in this sheet. There are separate sheets for Chironomus chronic water and sediment data.
1. Please provide your ongoing reference toxicant test data (EC25) for the most recent 20 Chironomus dilutus acute water column survival tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
2. Please provide your ongoing control chart data for negative controls for the most recent 20 Chironomus dilutus acute water column survival tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Chironomus dilutus acute water column survival (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for Chironomus dilutus water column survival and growth testing. If corrective action was required, please describe.
Note: Chironomus is not included in the DMR-QA studies. We apologize for this error. This information is not required.

## Chironomus - chronic water
If the laboratory has experience with Chironomus dilutus 10-day water column testing, indicate so here. Please provide ONLY chronic water-column data in this sheet. There are separate sheets for Chironomus acute water and sediment data.
1. Please provide your ongoing reference toxicant test data (EC25) for the most recent 20 Chironomus dilutus 10 day water column tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
2. Please provide your ongoing control chart data for negative controls for the most recent 20 Chironomus dilutus 10 day water column tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival or growth) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Chironomus dilutus 10 day water column survival and growth (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for Chironomus dilutus water column survival and growth testing. If corrective action was required, please describe.
Note: Chironomus is not included in the DMR-QA studies. We apologize for this error. This information is not required.

## Chironomus - sediment
1. This sheet is for Chironomus dilutus sediment testing data ONLY. Please provide the name of the test for which this data applies.
1. Please provide your ongoing reference toxicant test data (EC25) for the most recent 20 Chironomus dilutus sediment tests:
Endpoint | Start Date | EC25 | EC25 units | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
2. Please provide your ongoing control chart data for negative controls for the most recent 20 Chironomus dilutus sediment tests:
Endpoint | Start Date | Count (# of replicates) | Mean (% survival or growth) | StDev | CV | Min | Max | Comments
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
survival
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
growth
The following questions will be used to calculate your laboratory test completion rate. Please include all environmental samples in your answers.
3. How many samples has the lab tested for Chironomus dilutus sediment survival and growth (not including reference toxicant or controls) in the last 3 years?
4. Of the tests in question 3, how many were invalidated or were decided to be re-tested due to factors such as missed holding times or results not meeting test acceptability criteria?
Start Date | Reason Invalidated or | Reason Re-tested
6. Please provide your annual DMR-QA or equivalent proficiency testing data for the past three years (# 36, 37, and 38) for Chironomus dilutus sediment survival and growth testing. If corrective action was required, please describe.
Note: Chironomus is not included in the DMR-QA studies. We apologize for this error. This information is not required.